## FeederNames (hidden)
Management Console Name | Customer Name
1 | Gr1.EED_Incomer_1
2 | Gr1.EED_Incomer_2 | Gr1.EED_Incomer_1 | Gr1.EED_Incomer_2 | Gr1.EED_Research_Wing_Incomer_1 | Gr1.EED_Research_Wing_Incomer_2 | Gr1.EED_Load_Feeder | Gr1.Civil_Load_Feeder | Gr1.EED_Research_Wing_Solar | Gr1.EED_Solar | Q3_PCC1.4F4_Office_Panel | Q3_PCC1.5F2_PDB1_Main_RPDB | Q3_PCC1.5F1_SPARE1 | Q3_PCC1.5F3_SPARE2 | Q3_PCC1.5F4_SPARE3 | Q3_PCC1.6F3_PDB4 | Q3_PCC1.6F4_MLDB | Q3_PCC1.7F3_Server_Room | Q3_PCC1.7F4_PH_II_Utility_Panel | Q3_PCC1.4F1_STP | Q3_PCC1.6F2_SPARE4 | Q3_Tech.1F2_UPS_Incomer_DB3 | Q3_Tech.1F1_UPS1 | Q3_Tech.1F2_UPS2 | Q3_Tech.1F3_UPS3 | Q3_Tech.1F5_UPS_Incomer_DB1 | Q3_Tech.2F1_LGF_LTG_27A | Q3_Tech.2F2_UGF_LTG_27A | Q3_Tech.2F3_SPARE1 | Q3_Tech.2F4_SPARE2 | Q3_Tech.2F5_UPS_Incomer_DB3 | Q3_Tech.1F2_PDB1_Main_RPDB | Q3_Tech.1F6_PDB2 | Q3_Tech.1F2_MLDB_MEZZ1_Technic_RM | Q3_Tech.2F3_MLDB1 | Q3_Tech.1F2_PDB3_HVAC_Panel | PH2_Utility.1F2_Incomer_Panel | PH2_Utility.2F1_Security_Cabin3 | PH2_Utility.2F2_Security_Cabin4 | PH2_Utility.2F3_Security_Cabin5 | PH2_Utility.2F4_SPARE1 | PH2_Utility.2F5_MDB4 | PH2_Utility.2F6_SPARE2 | Q3_Office.1F2_Office_Panel_IC | Q3_Office.2F3_Incomer_for_RPDBS | Q3_Office.3F5_MZZ2_Office_Area | Q3_Office.3F4_MZZ1_Office_Area | Q3_Office.4F2_SPARE1 | Q3_Office.4F3_UPS_40KW | Q3_Office.4F4_SPARE2 | Q3_Office.4F5_SPARE3 | Q3_Office.3F1_Incomer_for_LDBS | Q3_Office.3F2_Lift | Q3_Office.3F3_LGF_Office | ION.7650 | WHP_PCC1.1F3_PCC1_IC | WHP_PCC1.2F3_PCC2 | WHP_PCC1.2F4_HVAC | WHP_PCC1.3F3_FIRE_FTG | WHP_PCC1.3F4_SPARE | WHP_PCC2.1F2_PCC2_IC | WHP_PCC2.1F5_MLDB1 | WHP_PCC2.1F6_UPS_IC | WHP_PCC2.2F7_MLDB2 | WHP_PCC2.2F8_MRPDB | WHP_PCC2.3F8_SPARE | WHP_UPS_OG.1F1_IC1_UPS1 | WHP_UPS_OG.1F2_IC2_UPS2 | WHP_UPS_OG.1F3_IC3_UPS3 | WHP_UPS_IC.1F2_UPS_IC | WHP_MELDB_1.1F2_IC_MELDB1 | WHP_MLDB1.1F1_IC_MLDB1 | WHP_MRPDB.1F2_IC_MRPDB | WHP_HVAC.1F2_IC_HVAC | KIOSK.QIII_RMU | KIOSK.QI_QII_RMU | KIOSK.PS_RMU
1900-01-02 | Gr1.EED_Research_Wing_Incomer_1
4 | Gr1.EED_Research_Wing_Incomer_2
5 | Gr1.EED_Load_Feeder
6 | Gr1.Civil_Load_Feeder
7 | Gr1.EED_Research_Wing_Solar
8 | Gr1.EED_Solar
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
M_MPDP04.Laser_Nozzleline
M_MPDP04.Sonplas1
M_MPDP04.Flow_Checking_MC3
M_MPDP04.Abrasive_Flow_MC2
M_MPDP04.Abrasive_Flow_MC1
M_MPDP04.Sleeve_Id_Grinding_1
M_MPDP04.Spare8
M_MPDP04.Spare7
M_MPDP04.Flow_Checking_MC4
M_MPDP04.Sonplas2
M_MPDP04.Spare5
M_MPDP04.Spare6
M_MPDP05.Incomer
M_MPDP05.Spare5
M_MPDP05.CMT_Machine
M_MPDP05.OD_Grinding1
M_MPDP05.Spare6
M_MPDP05.Demagnetizer
M_MPDP05.Washing_MC_Nozzle
M_MPDP05.Spare7
M_MPDP05.Admin_Office_HVAC
M_MPDP05.Seat_ID_Facegrinding1
M_MPDP06.Incomer
M_MPDP06.Spare2
M_MPDP06.Spare1
M_MPDP06.Washing_MC_RL
M_MPDP06.AFM_MC_Chiller
M_MPDP06.Kardex_RPDB
M_MPDP06.Spare3
M_MPDP06.Nakamura_01
M_MPDP06.Nakamura_02
M_MPDP06.Nozzle_Seal_ID1
M_MPDB.Incomer
M_MLDB.Incomer
M_UPS_MDB1.Incomer
M_UPS_MDB2.Incomer
M_UPS_MDB2.Spare1
M_UPS_MDB2.Spare2
M_UPS_MDB2.UVA1_1D_Grinding
M_UPS_MDB2.UVA2_1D_Grinding
M_EDM_MC_Panel.Incomer
M_EDM_MC_Panel.EDM_MC1
M_EDM_MC_Panel.EDM_MC2
M_EDM_MC_Panel.EDM_MC3
M_EDM_MC_Panel.EDM_MC4
M_EDM_MC_Panel.EDM_MC5
M_EDM_MC_Panel.Gauges_UPS_DB
M_EDM_MC_Panel.Spare3
M_EDM_MC_Panel.Spare4
M_Main_HVAC_Panel.Incomer
M_Main_HVAC_Panel.AHU_01
M_Main_HVAC_Panel.AHU_02
M_Main_HVAC_Panel.AHU_03
M_HVLS_Fan_Panel1.Incomer
C_MDB1.Incomer
C_MPDP01.Incomer
C_MPDP01.Spare1
C_MPDP01.Spare2
C_MPDP01.Spare3
C_MPDP01.Spare4
C_MPDP01.Welding_Machine1
C_MPDP01.EGP_Assembly1
C_MPDP01.Spare5
C_MPDP01.Laser_Marking
C_MPDP01.Welding_Machine2
C_MPDP01.EGP_Assembly2
C_MPDP01.EGP_Assembly3
C_MPDP01.Welding_Machine3
C_MPDP02.Incomer
C_MPDP02.Spare6
C_MPDP02.Spare7
C_MPDP02.Spare8
C_MPDP02.Spare9
C_MPDP02.Bracket_Assembly1
C_MPDP02.Bracket_Assembly2
C_MPDP02.Bracket_Assembly3
C_MPDP02.Bracket_Assembly4
C_Clean_Room_Panel.Incomer
C_Clean_Room_Panel.Spare2
C_Clean_Room_Panel.DU_Line_MP2
C_Clean_Room_Panel.DU_Line_MP1
C_Clean_Room_Panel.SU_Line_MP
C_Clean_Room_Panel.SU_Line_OP_110
C_Clean_Room_Panel.Compact_80C_Durr2
C_Clean_Room_Panel.Spare1
C_Clean_Room_Panel.Compact_80C_Durr1
C_Clean_Room_Panel.DU_Line_MP3
C_AHU_Panel.Incomer
C_HVAC_Panel_CR.Incomer
C_HVAC_Panel_CR.AHU_Panel
C_HVAC_Panel_CR.Chiller1
C_HVAC_Panel_CR.Chiller2
C_HVAC_Panel_CR.Spare3
C_HVAC_Panel_CR.Spare4
C_HVAC_Panel_CR.Pump_Panel
C_HVLS_Panel.Incomer

## Daily_Consumption (hidden)
National Institute of Technology, Warangal |  |  | Date | 2026-01-15
Meter No. | Feeder Description | Daily(07:00AM to 07:00AM)
|  | Init Reading Kwh | Final Reading KWH | KWH
1 | Gr1.EED_Incomer_1 | 185582 | 185800 | 218
2 | Gr1.EED_Incomer_2 | 2624 | 2644 | 20
3 | Gr1.EED_Research_Wing_Incomer_1 | 13664 | 13819 | 155
4 | Gr1.EED_Research_Wing_Incomer_2 | 2952 | 2972 | 20
5 | Gr1.EED_Load_Feeder | 6977 | 7032 | 55
6 | Gr1.Civil_Load_Feeder | 20727 | 20882 | 155
7 | Gr1.EED_Research_Wing_Solar | 18356 | 18579 | 223
8 | Gr1.EED_Solar | 17206 | 17425 | 219

## Consumption & Generation
National Institute of Technology, Warangal |  |  | Date | 2026-01-15
Meter No. | Feeder Description | Daily(07:00AM to 07:00AM)
|  | Init Reading Kwh | Final Reading KWH | KWH
1 | Gr1.EED_Incomer_1 | 185582 | 185800 | 218
2 | Gr1.EED_Incomer_2 | 2624 | 2644 | 20
3 | Gr1.EED_Research_Wing_Incomer_1 | 13664 | 13819 | 155
4 | Gr1.EED_Research_Wing_Incomer_2 | 2952 | 2972 | 20
5 | Gr1.EED_Load_Feeder | 6977 | 7032 | 55
6 | Gr1.Civil_Load_Feeder | 20727 | 20882 | 155
TOTAL CONSUMPTION |  |  |  | 623
1 | Gr1.EED_Research_Wing_Solar | 18356 | 18579 | 223
2 | Gr1.EED_Solar | 17206 | 17425 | 219
TOTAL GENERATION |  |  |  | 442

## Shift_Consumption (hidden)
| National Institute of Technology, Warangal |  | Date | 2026-01-15
Meter No. | Feeder Description | Shift1 | Shift2 | Shift3
|  | Consumption in Kwh | Consumption in Kwh | Consumption in Kwh
1 | Gr1.EED_Incomer_1
2 | Gr1.EED_Incomer_2
3 | Gr1.EED_Research_Wing_Incomer_1
4 | Gr1.EED_Research_Wing_Incomer_2
5 | Gr1.EED_Load_Feeder
6 | Gr1.Civil_Load_Feeder
7 | Gr1.EED_Research_Wing_Solar
8 | Gr1.EED_Solar